SECTION 133423

# PART 1 – GENERAL

1.01	SUMMARY

Provide all labor, equipment and materials to furnish one prefabricated Security Guard Booth.

1.02 	Related work specified elsewhere

A.	Electrical service supply and connection.

B.	Site/foundation work.

C.	Unloading, placement, installation and anchoring.

D.	Plumbing & piping (if required).

1.3  	Submittals

- Upon award of order, manufacturer shall prepare and submit shop drawings for each different building required for this project. Drawings shall include elevations, section, floor plan, electric schedule, service entrance locations, and anchor clip detail.

1.4 	Quality assurance

- Structures shall be the product of a manufacturer with a minimum of 20 years-documented experience in the design and fabrication of portable steel buildings.

- Prefabricated buildings by manufacturers other than the one approved shall submit sufficient data to enable approval to be given. As a minimum: design drawings and/or calculations, applicable certifications, catalog information, and color samples showing equal range of variety.

- Design loads: Live Loads:  Unit to be manufactured to be in full compliance to all codes for the City & State of installation.  All of these States below have specific Modular Building requirements that require a 3rd party agency to approve a detailed plan set that the manufacturer prepares after submittal approval.  The plan set for 3rd party plan review includes fabrication and weld details, structural and energy calculation all stamped by a registered PE.  The booth must have the State approval and Insignia prior to shipping.

- States requiring approval.  AL, AZ, CA, CO, FL, GA, ID, IN, MD, MA, MI, NC, NJ, NV, OH, OR, RI, SC, TN, TX, VA, WA.

# PART 2 - PRODUCTS

2.1	MANUFACTURERS

- Products of the following manufacturer from the basis for design and quality intended.

1.	B.I.G. Enterprises, Inc. South El Monte CA. 800-669-1449

B.	Or equal as approved in accordance with Section 01600 for Substitutions.

  - Structure

- Prefabricated steel building shall be single unit welded construction. Building to be shipped completely assembled. All welded joints ground smooth. Base dimensions to be  (Specify Dimensions Here)

B.	2” x 2” x .083” cold drawn electro-welded structural mechanical steel frames.

  - WALLS

- 16ga. Galvanized steel interior and exterior panels MIG welded between frame and mullions for self-aligning unitized system, creating a structural diaphragm.  Walls to be to have an exterior layer of R-10 continuous insulation from floor height to soffit height encapsulated within the final layer of 16ga. galvanized steel exterior walls.

State approved booths have 16ga. galvanized steel interior and exterior walls insulated to minimum R-10 with an additional exterior layer of R-9.6 continuous insulation at the exterior from floor heigh to soffit heigh encapsulated within the final exterior 16ga. galvanized steel walls.  Total wall insulation to be R-19.6. (Note: Some States require higher R-Value for the walls)

  - Base and floor

A.	Unit to have a 12ga. galvanized steel plate floor welded to a 2” x 2” perimeter galvanized steel tube frame with structural galvanized steel joists welded to the frame.  Floor deck to be covered with 1\4” x 20” square black polyvinyl chloride interlocking tiles and a 4” black base cove.  Floor frame to have four interior 2” x 3” anchor plates with pre drilled 11\16” holes for 5\8” diameter anchor bolts.

  - Door

- Unit to have one (or two) commercial steel framed insulated sliding door top hung by eight 2 1\4” diameter rigid steel ball bearing rollers with a lower stainless steel guide, stainless steel pull handles welded to the frame, mortise lock recessed in the frame, window and complete weather stripping.

  - Windows

A.	16ga. galvanized steel window frame system with flush mounted corners and welded fastening. Unit to have fixed windows on all sides, all windows glazed with 3\4” tined tempered dual pane insulating glass with Low-E coating.

  - Roof

- Roof shall be constructed of internal steel framing and joists with a 16-gauge galvanized roof deck welded to the framing. Roof shall then be coated with a three part Energy Star elastomeric membrane for weather protection with a SRI index of 95 or better.  Roof structure to be insulated to R-19 minimum, and shall have a 10” tall fascia with 6” overhang on all sides.  Roof to slope to drain to rear downspouts and have removable lifting eyes for optional crane offloading and setting. (Note: Some States require higher R-Value for the roof)  (Increase the overhang size if desired)

  - counter

- Booth to have a 20” deep full width front counter, counter to be 16ga. galvanized steel painted to match the booth and fixed at 34” AFF.

  - Electrical

- Load Center shall be 125 Amp rated 120/240 volt, single phase, 3 wire 12 pole MLO. Two 120V duplex outlets mounted under the front shelf.  Unit shall also have a double gang J-Box under the front shelf with a 3\4” conduit with pull string to the stub area for data\com lines.

- Interior light to be a 1’ x 4’ LED light recessed in a galvanized steel ceiling painted to match the booth and mounted at 90” AFF. Light is controlled by a occupancy sensor switch.

- HVAC to be a through the rear wall unit with 12,000 BTU cooling and 10,600 BTU electric heating.  HVAC to have a dedicated 230 volt outlet.  (Note: For booths 8’ wide or wider, we suggest the HVAC have 14,900 BTU cooling and 5KW electric heating)

WEATHER PROOFING

- Weather-tight for exterior use. All seams and joints pressure bonderized. All openings fully weather stripped. Roof shall have heat protective membrane coating.

PAINT FINISH

- Unit to be primed with heavy duty rust inhibitive high solids polyurethane with high

gloss polyurethane paint finish and overall thickness of 6-7 mil.  Paint to be impact, fade,

chemical and graffiti resistant that exceeds 3500 hour verified salt test.  One color to be

specified by the Architect.

# PART 3 - EXECUTION

  - General

A.   Install prefabricated buildings on flat and level concrete pad in accordance with manufacturer's recommendations and placement drawings. Position units over utility stub-ups, verify building is level and anchor.

  - INSTALLATION

A.	Units shall be shipped fully assembled, fully wired, fully glazed and thoroughly painted.

- Position units over electrical stub-up on level pad. Drill and set expansion type anchor bolts.

- Connect power and seal around edges where the floor base meets the concrete pad.

END OF SECTION.